## Slide 1: Contents
Dowon SHUN
Korea Institute of Energy Research
Circulating Fluidized Bed Boiler
Notes: 산업용 보일러의 운전특성을 요약하였다.

## Slide 2: KIER 유동층 기술개발/교육양성 프로그램
총괄 프로그램
기술개발
Academic Course Work
유동층 보일러 사용자 W/S
유동화
기술교육
기술교류 및 홍보
요소기술
2MWe SC-Oxy CFB
0.1MWe 기초연구
인력양성
프로그램
해외기관
교류
신흥시장
개척
초임계 수순환 기술
운전기술
운전기술인력배출
연료다변화
연소특성/모델링
연료공급/
하부회 배출
미세입자 클링커
고효율 발전보일러 설계
고형연료 보일러 설계
보일러 운전 용역사업

## Slide 3: Curriculum1
Hydrodynamics
(Gas & air, Water & Steam)
Combustion
Heat transfer
Emission
Fossil fuel and RDF
Boilers(Different types)
Major parts of CFBC boiler
Environmental Facility
Materials
Electricity and Control
Basic Engineering Design Data
Non pressure part (Combustor)
Design
Pressure part (Boiler) Design
Design example(training)
Term 1
Term 2
Level 1
Level 2

## Slide 4: Curriculum2
Assessment
Trouble shooting
Clinker and Corrosion
Commissioning
Economy & Assessment
Operation(training)
Project Management
Supply
Construction
Dynamic Simulation of Boiler
Oxy CFBC
SC CFBC
Term 1
Term 2
Level 1
Level 2

## Slide 5: I Introduction
Fossil fuel
Boilers
CFBC(Circulating Fluidized Bed Combustion)
Super critical CFB
Oxy fuel CFB

## Slide 6: II CFBC Basic
Hydrodynamics
(Combustor side & Boiler Side)
Fuels for FBC
Combustion
Heat transfer
Emission

## Slide 7: III Design sequence
Conceptual design – R&D
Basic Engineering Design Data
  Whole calculation for basic design
Basic Design
Detail Design

## Slide 8: IV Basic Engineering Design Data(i)
Mass Balance
Heat Balance
Boiler specifications
Air heater design
Draft calculation

## Slide 9: IV Basic Engineering Design Data(ii)
Combustor design
  Evaporator
Convection pass design
  Superheater
  Economizer
Drum
Feed water
Pumps

## Slide 10: IV Basic Engineering Design Data(iii)
SNCR
SDR
Bag filter
Stack

## Slide 11: V Combustor Design
Sequence of design
Design calculation
Combustor
Cyclone
Convection pass
Air heater
Draft system

## Slide 12: VI Boiler design
Feed Water
Tubes
Convection pass heat exchanger
Pressure drop
Boiler circulation
Turbine

## Slide 13: VII Environmental
In combustor Sox absorption
In combustor HCl absorption
Air staging
SNCR
SCR
Particulates
Heavy metals

## Slide 14: VIII Instruments and Control
Power consumption of fans
Power consumption of pumps
Boiler control logic
Instruments
Sensors
Emission analyser

## Slide 15: IX Construction
Procurement
Constitution of parts and Out Sourcing
Shop work
Construction
Test Procedure
Commissioning

## Slide 16: X Management
Feeding system
Air Distributor
Combustion monitoring
Corrosion
Erosion
Ash
Emission monitoring

## Slide 17: XI Operation
Start up
Steady operation
Shut down
Emergency control
Operation and Management
Economic Analysis

## Slide 18: XII Supply
PRE QUALIFICATION(PQ)
Contract
Project Management
Basic Engineering Design Data
Basic Design
Detail Design
Procurement and Manufacturing
Construction
Commissioning
PROJECT evaluation

## Slide 19: XIII Assessment
Project evaluation
Economic assessment

## Slide 20: XIV Trouble shooting
Most common problems occurred in 150MWe CFBC

## Slide 21: XV key Technology
Clinker formation
Chemical agent

## Slide 22: XVII Dynamic Simulation of Boiler
Start up of CFBC boiler
  Water side
  Gas sice

## Slide 23: XVIII Oxy CFBC
Introduction of 2MWe Oxy CFBC

## Slide 24: XIX SC CFBC
USC water circuit
Introduction of 2MWe SC CFBC